## DataElements
RowNum | Parent | Panel, Element, Qualifier, Modifier, or Value | Display Name | Definition | UoM | Value | Reference Set Definition | DataType | Cardinality | Optionality (mandatory, optional, conditional) | LOINC Code | LOINC Name+Q:QM:SM8M:PM:Q | Component | Property | Timing | System | Scale | Method | SNOMED CT Mapping Core or US Extension | SNOMED CT FSN | SNOMED CT CID | Issue
1 |  | Panel | Vital signs, weight, height, head circumference, oxygen saturation and BMI panel | The vital signs panel defined by the HL7 FHIR profile. This collection includes the standard vital sign measurements (heart and respiratory rate, blood pressure and body temperature) along with measurements for oxygen saturation, height, weight, head circumference, and body mass index (BMI). | [6 empty] | 85353-1 | Vital signs, weight, height, head circumference, oxygen saturation & BMI panel | Vital signs, weight, height, head circumference, oxygen saturation & BMI panel |  | Pt | ^Patient
2 | 1 | Element | Respiratory rate | The rate of the patient's breathing. | /min |  |  | PQ | 0..1 | O | 9279-1 | Respiratory rate | Breaths | NRat | Pt | Respiratory system | Qn
3 | 1 | Element | Heart rate | The speed at which the patient's heart is beating. | /min |  |  | PQ | 0..1 | O | 8867-4 | Heart rate | Heart rate | NRat | Pt | XXX | Qn
4 | 3 | Qualifier | Heart rate device type | The type of device used for the measurement of heart rate. |  | Heart rate device type value set | This reference set contains concepts used to result the type of device used to measure a heart rate, referencing the LOINC term "Type of Heart rate device" 8887-2. | CWE | 0..1 | O | 8887-2 | Type of Heart rate device | Class | Type | Pt | Heart rate device | Nom |  | New | The value set should be derived from children of 49062001 ¦Device (physical object)¦.
5 | 1 | Element | Oxygen saturation in Arterial blood by Pulse oximetry | Patient's arterial oxygen saturation in a clinical, not laboratory, setting by pulse oximetry. | % |  |  | PQ | 0..1 | O | 59408-5 | Oxygen saturation in Arterial blood by Pulse oximetry | Oxygen saturation | MFr | Pt | BldA | Qn | Pulse oximetry
6 | 1 | Element | Body temperature | The body temperatur of the patient. | Cel |  |  | PQ | 0..1 | O | 8310-5 | Body temperature | Body temperature | Temp | Pt | ^Patient | Qn
7 | 6 | Qualifier | Body temperature measurement site | The body location where body temperature was measured. |  | Body temperature measurement site value set | This reference set contains values used to result the body location where a body temperature was measured, referencing the LOINC term "Body temperature measurement site", 8327-9. | CWE | 0..1 | O | 8327-9 | Body temperature measurement site | Body temperature measurement site | Anat | Pt | *^Patient | Nom |  | New
8 | 6 | Qualifier | Body temperature device type | The type of device used for the measurement of the body temperature. |  | Body temperature device type value set | This reference set contains concepts used to result the type of device used to measure a body temperature, referencing the LOINC term "Type of Body temperature device" 8326-1. | CWE | 0..1 | O | 8326-1 | Type of Body temperature device | Class | Type | Pt | Body temperature device | Nom |  | New
9 | 1 | Element | Body height | The body height of the patient. | cm |  |  | PQ | 0..1 | O | 8302-2 | Body height | Body height | Len | Pt | ^Patient | Qn
10 | 13 | Qualifier | Body position with respect to gravity | The body position of the patient at the time of the measurement. |  | Body position value set | This reference set contains concepts used to result the patient's body position, referencing the LOINC term "Body position with respect to gravity" 8326-1. | CWE | 0..1 | O | 8361-8 | Body position with respect to gravity | Body position with respect to gravity | Type | Pt | ^Patient | Nom |  | New
11 | 1 | Element | Body height --lying | The body height of the patient when the patient is in lying position. | cm |  |  | PQ | 0..1 | O | 8306-3 | Body height --lying | Body height^lying | Len | Pt | ^Patient | Qn
12 | 1 | Element | Head Occipital-frontal circumference | The measurement of the head circumference by measuring over the most prominent part on the back of the head (occiput) and just above the eyebrows (supraorbital ridges). | cm |  |  | PQ | 0..1 | O | 9843-4 | Head Occipital-frontal circumference | Circumference.occipital-frontal | Len | Pt | Head | Qn
13 | 1 | Element | Head Occipital-frontal circumference by Tape measure | The measurement of the head circumference by measuring over the most prominent part on the back of the head (occiput) and just above the eyebrows (supraorbital ridges) using a flexible tape. | cm |  |  | PQ | 0..1 | O | 8287-5 | Head Occipital-frontal circumference by Tape measure | Circumference.occipital-frontal | Len | Pt | Head | Qn | Tape measure |  |  |  | precooridnated model
14 | 1 | Element | Body weight | The body weight of the patient. | kg |  |  | PQ | 0..1 | O | 29463-7 | Body weight | Body weight | Mass | Pt | ^Patient | Qn
15 | 13 | Qualifier | Clothing worn during measure | The clothes that was worn during the measurement. |  | Clothing worn during measure value set | This reference set contains concepts used to result the amount of clothing worn during the measure, referencing the SNOMED Code 248159006 "State of dress (observable entity)" and the LOINC term "Clothing worn during measure" 8352-7. | CWE | 0..1 | O | 8352-7 | Clothing worn during measure | Clothing worn during measure | Type | Pt | ^Patient | Nom |  | Core | State of dress (observable entity) | 248159006
16 | 1 | Element | Body mass index (BMI) [Ratio] | The patient's body mass index, which is calculated using the height and weight of the patient. | kg/m2 |  |  | PQ | 0..1 | O | 39156-5 | Body mass index (BMI) [Ratio] | Body mass index | Ratio | Pt | ^Patient | Qn
17 | 1 | Panel | Blood pressure panel with all children optional | The group of a systolic blood pressure, diastolic blood pressure, and mean arterial pressure all obtained at the same time. |  |  |  |  | 0..1 | O | 85354-9
18 | 17 | Element | Systolic blood pressure | The measurement of blood pressure in the vascular system when the heart ventricles are contracted. | mm[Hg] |  |  | PQ | 0..1 | O | 8480-6 | Systolic blood pressure | Intravascular systolic | Pres | Pt | Arterial system | Qn
19 | 17 | Element | Diastolic blood pressure | The measurement of blood pressure in the vascular system when the heart ventricles are relaxed. | mm[Hg] |  |  | PQ | 0..1 | O | 8462-4 | Diastolic blood pressure | Intravascular diastolic | Pres | Pt | Arterial system | Qn
20 | 17 | Element | Mean blood pressure | The average pressure within the arteries, calculated using the systolic and diastolic blood pressure. | mm[Hg] |  |  | PQ | 0..1 | O | 8478-0 | Mean blood pressure | Intravascular mean | Pres | Pt | Arterial system | Qn
21 | 17 | Qualifier | Blood pressure method | The method used for the measurement of the blood pressure. |  | Blood pressure method value set | This reference set contains concepts used to result the method used for a blood pressure measurement, referencing the LOINC term "Blood pressure method" 8357-6. | CWE | 0..1 | O | 8357-6 | Blood pressure method | Blood pressure method | Type | Pt | ^Patient | Nom |  | New
22 | 17 | Qualifier | Blood pressure measurement site | The body location where the blood pressure was measured. |  | Blood pressure measurement site value set | This reference set contains values used to result the body location where a blood pressure was measured, referencing the LOINC term "Blood pressure measurement site", 41904-4. | CWE | 0..1 | O | 41904-4 | Blood pressure measurement site | Blood pressure measurement site | Anat | Pt | ^Patient | Nom |  | New
23 | 17 | Qualifier | Blood pressure device Cuff size | The size fo the cuff that is used for the measurement of the blood pressure. |  | Blood pressure device Cuff size value set | This reference set contains concepts used to result the size of a blood pressure cuff used during a blood pressure measurement, referencing the SNOMED Code 722471002 "Size of blood pressure cuff (observable entity)" and the LOINC term "Blood pressure device Cuff size" 8358-4. | CWE | 0..1 | O | 8358-4 | Blood pressure device Cuff size | Cuff size | Len | Pt | Blood pressure device | OrdQn |  | Core | Size of blood pressure cuff (observable entity) | 722471002
24 | 17 | Qualifier | Blood pressure device type | The type of device used for the measurement of the blood pressure. |  | Blood pressure device type value set | This reference set contains concepts used to result type of blood pressure device used during a blood pressure measurement, referencing the SNOMED Code 70665002 "Blood pressure cuff, device (physical object)" and the LOINC term "Type of Blood pressure device" 41901-0. | CWE | 0..1 | O | 41901-0 | Type of Blood pressure device | Class | Type | Pt | Blood pressure device | Nom |  | Core | Blood pressure cuff, device (physical object) | 70665002
Note on I1: Susan Matney: • CWE - coded with exceptions • CO - Coded Ordinal • PQ - Physical Quantity • ED - Binary • TS - Time Stamp • ST - String • REAL • INT - Integer • II - Instance Identifier • RTOPQ - Ratio PQ ?? IVLPQ - Interval Physical Quantity ??ANY - Anything
Note on J1: Susan Matney: 0..* 1..* 0..1 0 1 0..N (specify N) 1..N (specify N) N (specify N)
Note on H8: Susan Matney: Missing
Note on H25: Susan Matney: Note that this is a SNOMED subdomain in the device hierarchy. There is not one for temperature devices. Also see above observable entity. Need to determine if we use the physical objects or observable entities for the "question".

## ValueSets
Value Set Name | Value | SNOMED code | SNOMED Display | Comment
Type of Heart rate device value set | Oximeter | 525871902 | Pulse oximeter (physical object)
Type of Heart rate device value set | Doppler | 525859628 | Doppler device (physical object)
Type of Heart rate device value set | Non-invasive blood pressure monitor | 258057004 | Non-invasive blood pressure monitor (physical object)
Type of Heart rate device value set | Invasive blood pressure monitor | 469801002 | Invasive blood pressure monitor (physical object)
Type of Heart rate device value set | Electrocardiographic monitor and recorder | 86184003 | Electrocardiographic monitor and recorder, device (physical object)
Type of Heart rate device value set | Bedside heart rate monitor | 467178001 | Bedside heart rate monitor (physical object)
Body temperature measurement site value set | Axillary | 422543003 | Structure of axillary fossa (body structure)
Body temperature measurement site value set | Oral | 74262004 | Oral cavity structure (body structure)
Body temperature measurement site value set | Ear | 117590005 | Ear structure (body structure)
Body temperature measurement site value set | Tympanic membrane | 42859004 | Tympanic membrane structure (body structure)
Body temperature measurement site value set | Temporal artery (forehead) | 52795006 | Forehead
Body temperature measurement site value set | Rectal | 34402009 | Rectum structure (body structure)
Body temperature measurement site value set | Urinary bladder | 89837001 | Urinary bladder structure (body structure)
Body temperature measurement site value set | Nasal | 279549004 | Nasal cavity structure (body structure)
Body temperature measurement site value set | Nasopharyngeal | 71836000 | Nasopharyngeal structure (body structure)
Body temperature measurement site value set | Finger | 7569003 | Finger structure (body structure)
Body temperature measurement site value set | Toe | 29707007 | Toe structure (body structure)
Type of Body temperature device value set | Digital thermometer | new
Type of Body temperature device value set | Liquid-crystal temperature-sensitive strip | 529508988 | Liquid-crystal patient thermometer (physical object)
Type of Body temperature device value set | Mercury thermometer | 467862000 | Capillary patient thermometer, mercury (physical object)
Type of Body temperature device value set | Non-contact infrared thermometer (NCIT) | new
Type of Body temperature device value set | Temporal artery infrared thermometer | 525871937 | Forehead thermometer
Type of Body temperature device value set | Thermal scanner camera | new
Type of Body temperature device value set | Tympanic infrared thermometer | 525871509 | Tympanic thermometer
Type of Body temperature device value set | Thermocouple thermometer | 118376009 | Thermocouple device (physical object)
Body position value set | Standing | 10904000 | Orthostatic body position (finding)
Body position value set | Prone | 1240000 | Prone body position (finding)
Body position value set | Supine | 40199007 | Supine body position (finding)
Body position value set | Sitting | 33586001 | Sitting position (finding)
Body position value set | Left Side | 102536004 | Left lateral decubitus position (finding)
Body position value set | Right Side | 102535000 | Right lateral decubitus position (finding)
Body position value set | Lying Trendelenburg (head up) | 34106002 | Trendelenburg position (finding)
Body position value set | Reverse Trendelenburg (head down) | 26527006 | Inverse Trendelenburg position (finding)
Body position value set | Fowler Position | 30212006 | Fowler's position (finding)
Body position value set | Recumbent body position | 102538003 | Recumbent body position (finding)
Clothing worn during measure value set | Underwear or less | new
Clothing worn during measure value set | Street clothes, no shoes | new
Clothing worn during measure value set | Street clothes & shoes | new
Blood pressure method value set | Palpation | 113011001 | Palpation (procedure)
Blood pressure method value set | Auscultation - automatic | new
Blood pressure method value set | Auscultation - manual | 13385008 | Mediate auscultation (procedure)
Blood pressure method value set | Auscultation | 37931006 | Auscultation (procedure)
Blood pressure method value set | Oscillometry | 31813000 | Vascular oscillometry (procedure)
Blood pressure method value set | Continuous noninvasive arterial pressure (CNAP) | new
Blood pressure method value set | Invasive (intravascular transducer) | 469914002 | Intravascular ultrasound imaging system transducer, reusable (physical object)
Blood pressure method value set | Arterial line | 261241001 | Arterial line (physical object)
Blood pressure method value set | Doppler | 268447006 | Doppler studies (procedure)
Blood pressure measurement site value set | Arm, Left | 80768000 | Left upper extremity structure (body structure)
Blood pressure measurement site value set | Thigh, right | 11207009 | Structure of right thigh (body structure)
Blood pressure measurement site value set | Arm, Right | 6921000 | Right upper extremity structure (body structure)
Blood pressure measurement site value set | Ankle, Left | 51636004 | Structure of left ankle (body structure)
Blood pressure measurement site value set | Thigh, left | 61396006 | Structure of left thigh (body structure)
Blood pressure measurement site value set | Arm | 53120007 | Upper limb structure (body structure)
Blood pressure measurement site value set | Ankle, Right | 6685009 | Structure of right ankle (body structure)
Blood pressure measurement site value set | Femoral Artery, Right | 69833005 | Structure of right femoral artery (body structure)
Blood pressure measurement site value set | Femoral Artery, Left | 113270003 | Structure of left femoral artery (body structure)
Blood pressure measurement site value set | Radial Artery, Right | 368503001 | Structure of right radial artery (body structure)
Blood pressure measurement site value set | Radial Artery, Left | 368504007 | Structure of left radial artery (body structure)
Blood pressure measurement site value set | Ulnar artery, left | 368506009 | Structure of left ulnar artery (body structure)
Blood pressure measurement site value set | Ulnar artery, right | 368505008 | Structure of right ulnar artery (body structure)
Blood pressure measurement site value set | Brachial Artery | 17137000 | Structure of brachial artery (body structure)
Blood pressure measurement site value set | Toe | 29707007 | Toe structure (body structure)
Blood pressure measurement site value set | Finger | 7569003 | Finger structure (body structure)
Blood pressure device Cuff size value set | Adult standard | 720737000 | Blood pressure cuff, adult size (physical object)
Blood pressure device Cuff size value set | Adult large | 720738005 | Blood pressure cuff, adult size large (physical object)
Blood pressure device Cuff size value set | Thigh extra large | 720740000 | Blood pressure cuff, adult thigh type (physical object)
Blood pressure device Cuff size value set | Ankle Cuff | new | Blood pressure cuff, ankle type (physical object)¦
Blood pressure device Cuff size value set | Infant Cuff | new | Blood pressure cuff, infant size (physical object)¦
Blood pressure device Cuff size value set | Neonatal cuff size 1 | new | Blood pressure cuff, neonatal size 1 (physical object)¦
Blood pressure device Cuff size value set | Neonatal cuff size 2 | new | Blood pressure cuff, neonatal size 2 (physical object)¦
Blood pressure device Cuff size value set | Neonatal cuff size 3 | new | Blood pressure cuff, neonatal size 3 (physical object)¦
Blood pressure device Cuff size value set | Neonatal cuff size 4 | new | Blood pressure cuff, neonatal size 4 (physical object)¦
Blood pressure device Cuff size value set | Neonatal cuff size 5 | new | Blood pressure cuff, neonatal size 5 (physical object)¦
Blood pressure device Cuff size value set | Pediatric Cuff | 720736009 | Blood pressure cuff, pediatric size (physical object)¦
Blood pressure device Cuff size value set | Small Adult Cuff | 720739002 | Blood pressure cuff, adult size small (physical object)¦
Type of Blood pressure device value set | Mercury sphygmomanometer | 309642005 | Mercury sphygmomanometer (physical object)
Type of Blood pressure device value set | Doppler | 43770009 | Doppler device (physical object)
Type of Blood pressure device value set | ArterialLine | 261241001 | Arterial line (physical object)
Type of Blood pressure device value set | Mercury sphygmomanometer | 309642005 | Mercury sphygmomanometer (physical object)
Type of Blood pressure device value set | Aneroid (mechanical) sphygmomanometer | 309641003 | Aneroid sphygmomanometer (physical object)
Type of Blood pressure device value set | Aneroid (mechanical) sphygmomanometer | 309641003 | Aneroid sphygmomanometer (physical object)
Type of Blood pressure device value set | Invasive arterial blood pressure device | 469801002 | Invasive blood pressure monitor (physical object)