## Slide 1
Michael Waters, Ph.D.
SHIELDx Team Lead/OIR RWE Representative
Office of In Vitro Diagnostics and Radiological Health (OIR)
Center for Devices and Radiologic Health (CDRH)
Food and Drug Administration (FDA)
Systemic Harmonization and Interoperability Enhancement for Lab Data
SHEILD – CIIC Project Overview
SHIELDx- putting IVD data standards to work
Current/Next Steps

## Slide 2
NEED: Traceability, Context, Perspective
To advance utility of in vitro diagnostics (IVDs), we need a means for high quality, harmonized and semantically interoperable laboratory coding to be associated with other healthcare data appropriately. This includes establishment of provenance, traceability and appropriate ontologic association (among other things).
Expected Benefits:
  Epidemiology/outbreak monitoring
  Healthcare innovation
  Decision support/knowledge generation
  Public health reporting
  Laboratory cost savings
  Signal detection
  more

## Slide 3
SCOPE:
This effort is focused on making associations for diagnostic information through tooling and or processes/procedures, e.g., IVDs and radiologic data.
Currently, more complex molecular diagnostic technologies are excluded from this scope, e.g., Next Generation Sequencing (NGS) as we do not yet have consensus on a way to represent that information clinically.

## Slide 4
SHIELD Mission:
Accelerate lab data digitization; improve quality & interoperability of IVD data to:
Improve access to high-quality RWE for regulatory decisions,
reduce burdens to the healthcare ecosystem,
promote innovative 21st century solutions to public health challenges,
build NEST (diagnostic arm).
SHIELD Stakeholders (>50 institutions engaged):
FDA (CDRH, CDER, CBER), CDC, NIH, ONC, CMS, CAP, IVD Manufacturers, EHR Vendors, Laboratories, Standards Developers, PEW Charitable Trusts, NEST/MDIC, Academia
Systemic Harmonization and Interoperability Enhancement for Lab Data
How? – SHIELD employs consensus processes to:
leverage existing lab data standards and infrastructure,
develop standards/tools to fill lab data interoperability gaps and
expedite ubiquitous adoption & implementation of SHIELD infrastructure.
GOALS & PARTICIPATING GROUPS:

## Slide 5
GOALS & TIMELINE: (initially expecting 2 years)
W/Standards: Quality in – Quality out.
W/O Standards: Garbage in – Garbage out
Plan:
Government supports manufacturers/industry to provide vetted and harmonized descriptive IVD codes to labs to improve utility for consumers.
Manufacturers
Context: An IVD asks a question of a specimen to get an answer.
Labs/Providers
Structured Transfer
LIS/EHR
Data Association
Patient Test Data
  IVD (Code Standard)
  Who’s Asking (UDI)
  Question (LOINC)
  Answer (SNOMED-CT)
Data Recipients
e.g., Research, Regulatory Decisions,
Outbreak Signals,
Clinical Decision Support,
Meaningful Use,
etc.
Data Utility

## Slide 6
CURRENT STATUS: WORK COMPLETED
Same IVD Type
LOINC Mapping Manual
Example List
Helpdesk Support
43874-7
43895-2
Influenza virus A Antigen in Nasopharynx
Influenza virus B Antigen in Nasopharynx
RELMA® LOINC Mapping Tool
Same IVD Type
Unambiguous LOINC Codes
https://loinc.org/guides/micro/
https://www.fda.gov/downloads/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/UCM610636.pdf

## Slide 7
LAW
CURRENT STATUS: WORK COMPLETED
IVD Industry Connectivity Consortium
LIVD
LOINC
UDI
SNOMED-CT
Digital Format for Publication of LOINC to Vendor IVD Test Results (LIVD)
Laboratory Analytical Workflow (LAW)
FHIR
Profile
Laboratory Information System
(LIS)
LOINC (Logical Observations Identifiers Names and Codes)
Coding Standard Nodes
SNOMED-CT (Systematized NOmenclature of MEDicine – Clinical Terms)
UDI (Unique Device Identification System)
Question
Answer
Who’s Asking
Role

## Slide 8
Digital Format for IVD Vendors to Provide LOINC
IVD Industry Connectivity Consortium
LAW
LIVD
LOINC
UDI
SNOMED-CT
Digital Format for Publication of LOINC to Vendor IVD Test Results (LIVD)
Laboratory Analytical Workflow (LAW)
FHIR
Profile
Laboratory Information System
(LIS)
LOINC (Logical Observations Identifiers Names and Codes)
Coding Standard Nodes
SNOMED-CT (Systematized NOmenclature of MEDicine – Clinical Terms)
UDI (Unique Device Identification System)
Question
Answer
Who’s Asking
Role
http://ivdconnectivity.org/livd/

## Slide 9
CURRENT STATUS: UPCOMING WORK
Remainder of LOINC manuals should begin soon and be completed by ~March 2021 (funding pending).
A proposed CLSI standard for coding all lab data is under review by CLSI management.
Implementation pilots will be completed by ~March 2021 (funding pending).
LIVD expansion pack for answer sets is under development.

## Slide 10
Pre-Process & Automation
Laboratory
LIMS/LIS Underlying Standards
MACP, MLCP, Specimen DAM
HL7 V2 Messages, LOINC, SNOMED CT, UCUM, et al
LOINC
SNOMED-CT
UCUM
IVD
Industry
LDA
LBL
LSH
LST
etc.
eDOS now electronic and computable
Orders now standardized, harmonized with EHR requirements
New LRI with harmonized profiles
LIS/ LIMS
eDOS
Test Catalog
LAW
Vendor 2
Analyzer 2
LIVD
LIVD
Vendor 1
LAW
Analyzer 1
LAW
Vendor 3
Analyzer 3
LIVD
LAW
…
…
LIVD
Providers
CURRENT STATUS: Expected Compatibility
LOI
Orders
LRI
Results

## Slide 11
data
138 mmHg
SystolicBP
SystolicBPObs
quals
data
Right Arm
BodyLocation
BodyLocation
data
Sitting
PatientPosition
PatientPosition
SNOMED CT
LOINC or
SNOMED Observable
HL7 CDA
CDISC
HL7 FHIR Profiles
Repository of
Shared Models
in an approved
Formalism
Model Review
SNOMED CT
LOINC
RxNorm
(SOLOR)
Core Reference Model
Standards Infusion
CEMs
Initial Loading of Repository
DCMs
CDA
Templates
openEHR
Archetypes
ISO EN 13606
Archetypes
FHIM
Models
FHIR
Resources
CHALLENGES: Harmonization w/CIMI & SOLOR
Model Dissemination
Translators
HL7 V2
NCPDP
X12
OPA FPAR
Application
Development
OPA FPAR
Application
Notes: Create an open shared repository of “logical models” in an agreed format
Import existing content whenever possible – not comprehensive
Select one approved logical model for a given kind of data in a given context (data entry, data retrieval and analysis)
Create “approved” mappings to standard implementations
Caveats
  This is the first meeting of a “campaign” or a “crusade”
    This is a huge project – it will take many years
  This is an essential first step to semantic interoperability. We also need
    Security
    Legal basis for sharing data
    Aligned incentives for sharing data

## Slide 12
CURRENT STATUS: UPCOMING WORK
Remainder of LOINC manuals should begin soon and be completed by ~March 2021 (funding pending).
A proposed CLSI standard for coding all lab data is under review by CLSI management.
Implementation pilots will be completed by ~March 2021 (funding pending).
LIVD expansion pack for answer sets is under development.

## Slide 13
PROCESSES:
We need your help to figure out how to go about the processes for ensuring content provided by manufacturers is aligned and interoperable with the appropriate clinical models, etc.
Would it be possible to receive a little more education on what can be done by this group and how we can optimally interact?

## Slide 14
CIIC VALUE/SUPPORT:
Value:
We expect that by plugging in high quality, harmonized and standardized lab data into CIMI models, lab data utility and association will be dramatically increased.
Support:
We anticipate funding for implementation pilots for the standards listed above within healthcare institutions. We are willing to write applications together to attain other funding. (Open to any ideas.)